## CIE (2012) 2-deg XYZ “physiologically-relevant” colour matching functions

### Data key

Columns

- Wavelength (nm)

- xλ

- yλ

- zλ

Notes

These 2-deg colour matching functions are linear transformations of the 2-deg cone fundamentals of Stockman & Sharpe (2000), ratified by the CIE (2006) as the new physiologically-relevant fundamental CIE CMFs. The transformation produces a form similar to the original 1931 xλ, yλ and zλ CMFs, a form still favoured by many engineers and scientists.

The transformation is given by:

xλ=1.94735469 lλ- 1.41445123 mλ+ 0.36476327 s(λ)

yλ=0.68990272 lλ+  0.34832189 m(λ)

zλ=1.93485343 s(λ)

where  lλ, mλ and s(λ) are the Stockman & Sharpe (2000) or CIE (2006) 2-deg cone fundamentals tabulated here.

The derivation of this transformation is relatively straightforward. The yλ CMF is the luminous efficiency function originally proposed by Sharpe et al. (2005), but then corrected (Sharpe et al., 2011).  The zλ CMFs in the  s(λ) cone fundamental originally proposed by Stockman, Sharpe & Fach (1999) scaled to have an equal integral to the yλ CMF for an equal energy white. The definition of the xλ CMF owes much to the efforts of Jan Henrik Wold. Its derivation depends on the following conditions:

- Like the other CMFs, the values of xλ are all positive.

- The integral of xλ for an equal energy white is identical to the integrals for  yλ and zλ.

- The coefficients of the transformation that yields  xλ are optimized to minimize the Euclidian differences between the resulting xλ, yλ and zλ chromaticity coordinates and the CIE 1931 xλ, yλ and zλ chromaticity coordinates.

Following the usual convention, xλ, yλ and zλ are given in units of energy.

The proposed CIE standard is also concerned about defining the precision of the CMFs. Thus, the coefficients of the transformation are defined to 8 decimal places (as in the equations above), the results in linear (energy) units are tabulated to 7 significant figures, and the CMFs must be calculated from the cone fundamentals given in linear (energy) units to 9 sf.  In addition, the standard is strictly only for the CMFs tabulated at 1-nm steps given here, since only at this step-size are the integrals of the three CMFs precisely equal.

The functions are provided here at 0.1, 1 and 5 nm steps.

Please note that these are proposals that have yet to be ratified by the full TC 1-36 committee or the CIE.

References

CIE. (1932). Commission Internationale de l’Éclairage Proceedings, 1931. Cambridge: Cambridge University Press.

Stockman, A., Sharpe, L. T., & Fach, C. C. (1999). The spectral sensitivity of the human short-wavelength cones. Vision Research, 39, 2901-2927.

Stockman, A., & Sharpe, L. T. (2000). Spectral sensitivities of the middle- and long-wavelength sensitive cones derived from measurements in observers of known genotype. Vision Research, 40, 1711-1737.

Sharpe, L. T., Stockman, A., Jagla, W. & Jägle, H.(2005). A luminous efficiency function, V*(λ), for daylight adaptation. Journal of Vision, 5, 948-968.

CIE (2006). Fundamental chromaticity diagram with physiological axes. Parts 1 and 2. Technical Report 170-1. Vienna: Central Bureau of the Commission Internationale de l' Éclairage.

Sharpe, L. T., Stockman, A., Jagla, W. & Jägle, H. (2011). "A luminous efficiency function, V*(λ), for daylight adaptation: a correction." Color Research & Application, 36, 42-46.