Vos & Walraven (1971) 2-deg cone fundamentals

Data key

Columns

Quantal 
1. Wavelength (nm)

2. log L-cone spectral sensitivity

3. log M-cone spectral sensitivity

4. log S-cone spectral sensitivity

Energy 
1. Wavelength (nm)

2. log L-cone spectral sensitivity

3. log M-cone spectral sensitivity

4. log S-cone spectral sensitivity



Notes

The Vos and Walraven cone fundamentals were obtained from the following transformations 
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 are the Judd, Vos modified CIE, XYZ 2-deg color matching functions. 
Judd, Vos modified CIE, XYZ color matching functions. 

See Vos and Walraven (1971), Walraven (1974) and Vos (1978) 

Note that  L()+M()+S() = V(). 
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